## Sheet1
Latitude | Longitude | Postal Address / location | District | Parish | Date of flood | Reported by (e.g. flood toolkit, flood wradens etc.) | Was there internal flooding? | Critical Infrastructure (e.g. school, hospital etc.) | Is a S19 required? | Was a S19 completed? | Depth of flood | No of properties affected | Cause of flood event | Were photos of the flood event provided? | Was the flood incident resolved/ reported to the relevant RMA? | Other Comments | Other Docs | Response
51.7226 | -1.2341 | Heyford Hill Roundabout, Oxford, OX4 4TU | Oxford City | Littlemoor | 2022-10-05 |  | No | 0 | No |  | Unknown |  | Burst water main at the Heyford Hill Roundabout and a sink hole opened up. No water or low pressure to 35,000 homes. | No | Yes | Thames Water is leading on repairing the problem and working together with us and a number of partner organisations to support residents affected. Our emergency planning structures have been stood up and we are working with our system partners on contingency arrangements. |  | 09/10/2022 - The major incident response has now been closed. All households & businesses affected have a full pressurised supply of water. A4142 Eastern Bypass now re open.
51.733 | -1.224 | Campbell Road, Oxford, OX4 3PG | Oxford City | Oxford | 19/20/2021 |  | No | 0 | Yes |  | Unknown | Unknown | The heavy rain caused both ground water and sewage flooding again last night/this morning. While it was not as serious as previously - there is toilet paper and sewage in some gardens. The street and pathways were also under sewage that rushed out of the drains - just before the school run. | No |  | Require information/ report from Thames Water.
51.733 | -1.224 | Campbell Road, Oxford, OX4 3PG | Oxford City | Oxford | 2020-10-03 |  | No | 0 | No |  | Unknown | Unknown | Surface water entering the foul system and causing it to overflow during heavy downpours. | Yes | Unknown |  | Campbell Road Flooding meeting
51.7354 | -1.2323 | 7 Henley Avenue, Oxford, OX4 4DH | Oxford City | Oxford | 2022-10-23 |  | No | 0 | No |  | Unknown | 1 | External flooding | No
51.7448 | -1.2579 | 7A Western Road, Oxford, OX1 4LF | Oxford City | Oxford | 2021-02-01 |  | Yes | 0 | No |  | Unknown | Unkown | Blocked sewer | Unknown | Unknown | Stop STOP FOR 7A WESTERN RD FROM CM SELLARS FOUL WATER ENTERING VIA SHOWER WASTE TRAP - REPEATED OCCURANCE AFFECTED A NUMBNER OF PROPERTIES IN THE AREA - BELIEVED CAUSED BY BLOCKED EXTERNAL SEWAR AND OR HIGH WATER TABLE - SAME CAUSE BELIEVED TO BE THE CAUSE OF INCIENT ATTENDED BY 21P1 - ADVICE GIVEN TO OCCUPIER AND INCIDENT LEFT WITH LANDLORD - THAMES WATER ATTENDANCE STILL REQUIRED TO FIX ISSUE - TENNANT HAS BEEN MOVED OUT OF PROPERTY - TACT MODE OSCAR SAVEABLE PROPERTY
51.745 | -1.2578 | Western Road, Oxford, OX1 4LG | Oxford City | Oxford | 2020-12-28 |  | Yes | 0 | No |  | Unknown | Unknown | 2. The 140m culverted passage of drainage along Oxford Road inhibits adequate flow of rainwater. | Unknown | Unknown | Stop STOP MESSAGE FROM CM WHITWORTH WESTERN ROAD BASEMENT FLAT NOW CLEARED OF INGRESS OF WATER- OCCUPIERS ABLE TO PRVENET ANY FURTHER INGRESS OF WATER DRAINS NOW BEING CLEARED BY OXFORD DIRECT SERVICES- OXFORD DIRECT SERVICES WILL REMAIN ON SCENE UNTIL THAMES WATER ARRIVE TO CLEAR DRAINS FURTHER WE WERE IN OSCAR MODE FOR SAVABLE PROPERTY
51.7527 | -1.2795 | Waitrose Ltd, Botley Road, Oxford, OX2 0HH | Oxford City | Oxford | 2021-02-04 |  | No | 0 | No |  | 1m | 1 | Sewage | Unknown | Unknown | The sewers are overflowing the car park and in the delivery area. Also internal toilets are out of order due to back flow
51.7532 | -1.2037 | 107 Old Road, Headingdon, Oxford, OX3 8SX | Oxford City | Oxford | 2020-12-23 |  | Yes | 0 | No |  | Unknown | Unknown | Unknown | No | Unknown | Forwarded from Emergency Planning. Limited information. Stop STOP FROM CM BAKER 107 SPECIAL SERVICE NOW COMPLETE FLOODING REMOVED BY RESIDENTS PRIOR TO ARRIVEAL OF BRIGADE ADVICE ONLY GIVEN BY FRS OSCAR OFFENSIVE
51.7549 | -1.2267 | Woodbine Cottage, Rutten Lane, Yarnton, OX3 0BT | Cherwell | Yarnton | 2020-12-23 |  | No | 0 | No |  | Unknown | Unknown | Field runoff | No | Yes | There may be a solution but it will depend on the cooperation of the developer who is to develop on the fields.� We are seeking betterment but have no powers to insist. - Cherwell DC Stop FROM FURTHER INFORMATIVE FROM SM MAKAY AT RUTTON LANE FLOODING INCIDENT- WATER LEVEL STABLE AND RECEEDING- HVP DEPLOYED IN CHRUCH LANE, YARNTON- FURTHER HVP ASSESSMENT IN 20 MINS- BEFORE COMITTING TO HOSE LANE- ENVIRONMENT AGENCY REP IA- JOINT MEETING NOW CONCLUDED- LOCAL COUNCILER ON SCENE- WE ARE OSCAR OFFENSIVE FOR SAVEABLE PROPERTY - Stop STOP FROM SM MACKAY AT RUTTEN LANE FLOODING INCIDENT - EXTERNAL FLOODING EVENT AFFECTING SEVERAL AREAS ACROSS 3 SQUARE KMS - 3 PROPERTIES AFFECTED INTERNALLY IN RUTTEN LANE - A NUMBER OF PROPERTIES IN ALL SECTORS PROTECTED BY FIRE SERVICE ACTIONS - 2 LPP IN USE - HVP DEPLOYED IN PARK AND NOW MADE UP - AYSGARTH RD AND CHURCH LANE WATER NOW REDUCING TO ACCEPTABLE LEVEL - ALL CREWS DELAYED APPROX 30-45 MINS - AND WE ARE OSCAR OFFENSIVE FOR PUBLIC PROTECTION | Flooding update Ploughley Region | 2/6/21 - met with Yarnton Flood Group. Multiple actions with CDC and OCC.
14/01/22 - OCC, Agreed attendance to cleanse the open ditched in Rutten Land and Cassington Road. Check with Yarnton Fllod group for extents.
14/01/22 - CDC has removed grill from watercourse in Cassington Road. CDC to check with land drainage issues at Surgery. CDC removed the drainage plate at the drainage pipe at surgery. Church Lane to engage with landowners. Engaging with TW regarding pumping station at Merton Way. Some outstanding surveying with regard to residual issues on the 10 point plan.
22/4/22 - OCC Clearance of road side ditches, programme to be confirmed in 22/23;
22/4/22 - CDC restriction removed at Surgery, removed grill at outlet at Rutten Lane into Cassington Road, walked length of watercourses. Talking to developers west of Rutten Land to manage water run off. Frogwall Down Lane looking at new feature to hold water to prevent runoff into Cassington Road; Santury Housing is riperaion owner for number of ditches and discussion on-going; Partnership arrangement with TW at Merton Way in Yarnton.
07/10/22 - OCC - Road side ditches has been cleared. Culvert connects still to be jetted. New investigation to check condition of culverted watercourse under the A44. The developer/owner JA Payne to be approached on culvered watercourse under Aysgarth Road. CDC - to write to land owner to reinstate ditch in Church Lane. Land Drainage strategy to reduce flooding on Frogwelldown Lane. PR9 development to looks at mitigation.
6/1/23 - Culvert connects now jetted. New investigation to check condition of culverted watercourse under the A44. The developer/owner JA Payne to be approached on culvered watercourse under Aysgarth Road. CDC - Met with owner to reinstate ditch in Church Lane. Land Drainage strategy to reduce flooding on Frogwelldown Lane. PR9 development to looks at mitigation.
6/4/23 - A44 has been inspected and no obvious concern. CDC - Chrurch Lane resolved. PR9 development to looks at mitigation, conversation now being developed.
51.7706 | -1.2302 | Marston, Oxford (slip road) OX3 0NQ | Oxford City | Old Marston | 2023-04-12 | Flood Toolkit | No | 0 |  |  | 60cm | 0 | Slip road immediately after sharp turn (past elsfield turning) on to the A40 (north way) ring road is flooded with Very deep water and no way to drive around or out of it. Major safety concern. | No |  | Flash flooding anf inadequate drainage. Road almost impassable.
51.7716 | -1.2249 | Borrowmead Road, Headington, OX3 9QW | Oxford City | Oxford | 2020-08-18 |  | No | 0 | No |  | Unknown | 0 | Road impassable by vehicles or on foot. When road cleared slightly cars driving passed caused waves and near misses to flooding houses along Borrowmead Road. | Yes | Unknown
51.7814 | -1.2682 | 22 Summerhill Road, Oxford, OX2 7JY | Oxford City | Oxford | 2020-08-28 |  | Yes | 0 | No |  | Unknown | 1 | Water from rain in property. | Unknown | Unknown
51.7841 | -1.2603 | Water Eaton Road, junction with Harpes Road, Oxford, OX2 7QQ | Oxford City | Oxford | 2023-05-09 | Out of Hours | No | 0 | No |  | Unknown | 0 | CN4942 Log: 1413, flooding in the carriaways cars unable to pass | No | Yes
51.7846 | -1.2791 | Cedar House, 2B Bladon Close, OX2 8AD | Oxford City | Oxford | 2020-08-28 |  | Yes | 0 | No |  | Unknown | 1 | Internal flooding caused by local storm. | Unknown | Unknown